Invasion Assay Optimization for New Cell Lines using Matrigel

Materials needed

- Matrigel (Corning, Cat# 354234) (Purchase through Essen for DEMO PURPOSES ONLY or your local Corning Rep)

- 96-well ImageLock Plate (Essen BioScience, Cat# 4379)

- 96-well microplate (Corning, Cat# 3595)

- 96-well Cell Invasion Accessories (Essen BioScience, Cat# 4444):

  - 2 x CoolBox 96F System plus 2 x CoolSink 96F

  - 1 x extra CoolSink 96F

  - CoolBox M30 System with CoolRack

- Multichannel Pipette

- Pipette tips

- Eppendorf Tubes

- 15mL Conical Tubes

- A confluent T75 flask of cells

- Complete cell culture media

Week Before Experiment

- Receive and store matrigel immediately at -20°C.

- Store CoolSink Packs at -20°C.

- Thaw matrigel on ice at 4°C Overnight.

- Make sure matrigel is completely thawed before working with it. Optional: Pre-cool tubes/pipette tips/stripettes in the -20°C before aliquoting the matrigel.

- Leave the matrigel on ice and use the CoolSink M30 System with CoolRack for tubes.

- Use a 10mL stripette to thoroughly mix the matrigel.

- Aliquot 1mL of matrigel into 9 tubes, 100µL into 1 tube, and 900µL into 1 tube.

- Store immediately at -20°C until ready to use.

Monday Afternoon – Coat ASSAY PLATE with thin layer of Matrigel (10min, wait 1d)

- Using the CoolSink M30 System with CoolRack, thaw the aliquot of 100µL matrigel (30min-1h).

- In 6mL complete media, dilute matrigel stock to 100µg/mL.

- Dispense 50µL of diluted matrigel into each well of a 96-well ImageLock Plates. Gently rock the plate to ensure even coating of each well. Place the plate in a 37°C incubator, 5% CO2 overnight.

Tuesday Morning – Seed cells onto ASSAY PLATE (30min, wait 4-6h)

- Trypsinize and count cells.

- Centrifuge cell suspension, aspirate media/trypsin, and re-suspend cell pellet in complete media at a density of 350,000 cells/mL in 10mL media.

  - Add 2.6mL of 350,000 cells/mL into 0.4mL media = 300,000 cells/mL

  - Add 2.1mL of 350,000 cells/mL into 0.9mL media = 250,000 cells/mL

  - Add 1.7mL of 350,000 cells/mL into 1.3mL media = 200,000 cells/mL

- Remove the ASSAY PLATE from the incubator and aspirate and discard matrigel from each well. Seed cells (100µL per well) into every well according to the plate map.

  - 20K cells/well – Rows A&E

  - 25K cells/well – Rows B&F

  - 30K cells/well – Rows C&G

  - 35K cells/well – Rows D&H

- Allow the ASSAY PLATE to sit at room temperature for 5min to allow cells to evenly disperse across the bottom of the plate. Place the lidded plate into the 37°C, 5% CO2 incubator for 4-6h.

Tuesday Afternoon – Prepare REAGENT PLATE (30min)

- Thaw matrigel aliquots (about 5) on ice or in pre-chilled CoolBox for 1-2h.

- Place a standard 96-well plate in the pre-chilled CoolBox 96F at 4-8°C for 5min. Keep this plate on the Coolbox throughout the protocol.

- Prepare 3 working stocks of matrigel in 2.3mL COLD media. Pipette five times to mix, ensuring any residual matrigel in the pipette tip has been washed into the tube. Keep on ice.

  - Add 75µL of complete media to each well in Quadrant 1 of REAGENT PLATE.

  - Add 75µL of 2mg/mL matrigel to each well in Quadrant 2 of REAGENT PLATE.

  - Add 75µL of 4mg/mL matrigel to each well in Quadrant 3 of REAGENT PLATE.

  - Add 75µL of 6mg/mL matrigel to each well in Quadrant 4 of REAGENT PLATE.

- Remove bubbles from matrigel by gently squeezing a wash bottle (containing 100% ethanol with the inner straw removed) to blow vapor over the surface of each well. Try to keep the tip of the wash bottle approximately 5cm from the media surface.

Tuesday Afternoon – Wound, add top layer & schedule scans (1h)

- Carefully remove the ASSAY plate containing cells from the incubator.

- Follow the 96-well WoundMaker procedure to simultaneously create wounds in all wells. Visually inspect wounds with an inverted microscope, to ensure that you have correctly used the WoundMaker.

- Immediately (and carefully) wash the cells twice with room temperature cell culture media. After the final wash, add culture media (100µL) to each well and place plate in a pre-chilled CoolBox 96F to equilibrate for 5min. Remove and discard (cool) media from the ASSAY PLATE.

- Transfer the matrigel solution and culture media from the REAGENT PLATE to the ASSAY PLATE (50µL per well). Remove bubbles as before.

- Place the ASSAY PLATE on the pre-warmed CoolSink 96F in a 37°C, 5% CO2 incubator for 30min.

- Add 100µL of additional culture media (pre-warmed to 37°C) to each well of the ASSAY plate. Do not mix. Remove bubbles. Place the de-bubbled cell plate in the IncuCyte.

- Allow the cell plate to equilibrate in the IncuCyte for 30min prior to scheduling the first scan – this will reduce the likelihood of condensation on the lower side of the plate which can hinder image quality.

- In the IncuCyte software, schedule repeat scanning for every 2h for 48h, with the first scan to commence immediately. Set the assay plate to scan one image per well and ensure ‘scan type’ is set to Scratch Wound Wide Mode.

Notes:

Plate Map